Solar Installation

Solar calculation
- For these calculations refer to Calculator doc
  - Load
  - Panel size
  - Battery size
  - Charge controller
Solar Panel orientation
- Mounting brackets
- Orientation angle
  - Solar panels should be facing north
  - 140 use an inclinometer
Cable type and size
- Solar panels should be installed using 6mm cables
- Three cables to be used.