Version 1
3nd November, 2017
Author: Zione Bwetu, Nomsa Kamgwira and Sydney Kambona

HARDWARE MAINTENANCE

This document serves as a guideline for support of hardware maintenance activities to perform before leaving a site.

No	Activity	Y	N	comment
	Server Maintenance
1	Verify if backups are working
2	Check disk usage
3	Update OS
4	Check application updates
5	Check remote access
6	Check server utilization
7	Check system security

	Printer / Scanner Maintenance
1	Check if printing is working
2	Check if the rollers are well inserted
3	Check if the scanners are calibrated

	Power Backup Equipment Maintenance
1	Check/ Record the voltage
2	Check if the battery charger is working
3	Check if the AVG and AVS are working
4	Record run time of backup power
5	Check if the all cabinets have rocks

	J2s /EBN/ Cables/ Power supply Maintenance
1	Check if all monitors are calibrated
2	Check if the ports are working
3	Record the number of Monitors working and not working	Working
		Not working
4	Check the browser version
5	Check that all power supply are working
6	Check that all cables are well terminated
7	Verify if the facility has spare cables